Project Description: 2024 Phase II – Urban Greening Grant- expands a planned pocket park by extending a dual-purpose bike and pedestrian permeable 8’ wide tree-lined walkway/bikeway with solar lighting from Alderette Drive to Grapevine Drive

Urban Greening Phase II– Alderete Drive to Grapevine: Phase II expands a planned pocket park by extending a dual-purpose bike and pedestrian permeable 8’ wide tree-lined walkway/bikeway with solar lighting from Alderette Drive to Grapevine Drive (that parallels the east side Walnut Drive). (See 18-304 Revised concept which is Phase II)

2024 Urban Greening Phase II – Preliminary Cost Estimate - $500,000.00

GARDEN IN THE SUN EXPANSION: - PHASE II:

| 1 | 1 | LS | Mobilization/Demobilization, Bonds, Insurance, Permits, Licenses and Fees |
| --- | --- | --- | --- |
| 2 | 1 | LS | Traffic Control |
| 3 | 1 | LS | Demolition/Site Preparation/Earthwork, excavate and import/export soil |
| 4 | 1 | LS | Storm Water Pollution Prevention Plan |
| 5 | 0 | SF | 4" Concrete complete and in place |
| 6 | 0 | SF | 4" Concrete Sidewalk complete and in place |
| 7 | 0 | LF | 6" Curb with 24" Gutter |
| 8 | 0 | EA | Access Ramp |
| 9 | 2,600 | SF | Permeable Pathway Surface |
| 10 | 600 | LF | 18"x8" Concrete Mow Strip |
| 11 | 0 | LF | 6' Chainlink Fence with Privacy Slats |
| 12 | 0 | EA | Drinking Fountain |
| 13 | 2 | EA | 6' Bench as shown on plans and specifications |
| 14 | 0 | EA | 4' Bench as shown on plans and specifications |
| 15 | 2 | EA | Trash Receptacles |
| 16 | 0 | EA | Picnic Tables |
| 22 | 1 | EA | Funding acknowledgement signs |

LANDSCAPING:

| 1 | 1 | LS | Landscape Planting complete and in place per plans (including 130 native, drought tolerant plants) |
| --- | --- | --- | --- |
| 2 | 0 | LS | ACSD Water Service Connection Fee* |
| 3 | 0 | LF | 2" Domestic Water PVC Pipe with Isolation Valves complete and in place per plans |
| 4 | 0 | EA | Reduced Pressure Backflow Preventer Assembly and Enclosure |
| 5 | 22 | EA | Drought Tolerant Trees (15gal) |
| 6 | 1 | LS | Irrigation System and Controller complete and in place per plans |
| 7 | 0 | EA | Irrigation Booster |

ELECTRICAL

| 1 | 1 | LS | On-Site Electrical conduits, wiring, grounding, pull boxes and all appurtenances complete and in place |
| --- | --- | --- | --- |
| 2 | 34 | EA | Pathway Lights |
| 3 | 0 | EA | Landscape Lights |
| 4 | 3 | EA | Pedestrian Lights |
| 5 | 0 | EA | Connection to PG&E Panel |
| 6 | 0 | EA | PG&E Connection to Meter |

Site Plan – Urban Greening - Second Phase - Portion of Assessor Parcel No. 190-260-06

Aerial Project Area – Phase II Urban Greening – Bike path and walkway from Alderette Drive to Grapevine Drive

Site Plan – Urban Greening Phase I - First Phase - Portion of Assessor Parcel No. 190-260-06

ASSESSOR PARCEL NO. 190-260-06 – PORTION OF THE SITE FOR THE URBAN GREENING PHASE II BIKE AND PEDISTRIAN PATH FROM ALDERETTE DRIVE TO GRAPEVINE DRIVE